,	LOCATION MAP
-'.  ''.,.•   ::  ":':; •		S CALE:  1" •   3  5.   Mtlff

LEGEND
0     CWERT CROSSING
f-1'\ CUVERT CROSSING
\.V NUMBER
.,0.=0.02 WATER LEVEL
DIFFERENCE AT
CROSSING

-

GRAPlDC SCALE

1•    -     1
1 1no1a - 2000 n..

REFERENCE : MARTIN COUNTY INFORMATION TECHNICAL SERVICE, GEOGRAPHIC INFORMATION SYSTEMS.
FLIGHT DATES BETWEEN DECEMBER 5, 2018
AND JANUARY 29, 2019

Page 20

C HIGGINS ENGINEERING, INC.
July 1, 2020

uired uired uired

Pal-Mar Water Control District Culvert Crossing Repair/Replacement

Crossin	No.
1	
2	
3	
4	
 	5	
 	6	
 	7	
8	
9	
10	
11	
12	
13	
14	
15	
16	

Summary

Four crossings will require no work.
Eleven crossings will require repair or blockage removal
One crossing will require reinstallation of a culvert

Work Sequence

Work can be started at crossing number 2 then 5, 6, 7, 8, 9, 10, 11, 16, 12, 13, 15

4623 Forest Hill Blvd., Suite 113
(561) 439-7807

Water Resources - Environmental

West Palm Beach, FL 33415 FAX (561) 439-0026